## Hoja1
ITEM | Index | Group | Quantity/Group | Manhours/Item | Electrical Job%
APPLICATION MACHINE | 1 | Plant | 1 | 5 | 10%
ARRAY TO PANEL CONNECTOR | 2 | String | 2 | 0.66111 | 0%
CABLES | 3 | Module | 1 | 14 | 100%
CONTROL SYSTEM (PLC) CABINET | 4 | Plant | 1 | 2.4 | 100%
DRY COOLER | 5 | Module | 1 | 2.45 | 10%
ELECTRICAL (INVERTER) CABINET | 6 | Plant | 1 | 2.4 | 100%
END-PANEL CONNECTOR | 7 | String | 1 | 0.58333 | 0%
FLEXIBLE HOSE | 8 | Module | 14 | 0.45 | 0%
FLOW METER | 9 | Module | 1 | 5.6333 | 90%
METEO STATION | 10 | Plant | 1 | 4 | 100%
MT-POWER PANEL | 11 | Panels | 1 | 0.67 | 0%
OVERPRESSURE ASSEMBLY | 12 | String | 1 | 1.4789 | 10%
PANEL SUPPORT | 13 | Panels | 2 | 0.35 | 0%
PANEL TO PANEL CONNECTOR | 14 | String | 1 | 0.44444 | 0%
PIPE ARRAY SUPPORT STRUCTURE | 15 | String | 3 | 1 | 0%
PIPE LONG | 16 | String | 0.5 | 0.52222 | 0%
PIPE SHORT | 17 | String | 2 | 0.22222 | 0%
PRESSURIZATION SYSTEM | 18 | Plant | 1 | 8.95 | 15%
SENSOR & VENT ASSEMBLY | 19 | String | 1 | 1.6139 | 10%
SENSOR CABINET | 20 | Module | 1 | 2.4 | 100%
TANK | 21 | Plant | 1 | 9.1667 | 15%
TEMPERATURE SENSORS (PT-100) | 22 | Module | 10 | 0.15 | 100%
THERMAL BLOC - PIPES SUPPORT STRUCTURE | 23 | Module | 33 | 1 | 0%
THERMAL BLOC - PIPE LONG | 24 | Module | 19 | 6.2222 | 0%
THERMAL BLOC - PIPE SHORT | 25 | Module | 30 | 6.2222 | 0%
THERMAL CABINET | 26 | Module | 1 | 21.75 | 20%
U-PIPE ARRAY | 27 | Module | 1 | 0.16667 | 0%